## feeder fault locator
setting of fault type | phase A current(fault) | phase B current(fault) | phase C current(fault) | phase A voltage(pre-fault) | phase A voltage(fault) | phase B voltage(pre-fault) | phase B voltage(fault) | phase C voltage(pre-fault) | phase C voltage(fault) | Pick-up value | Triggering digital input | Average voltage limit | Io limit | Xmax limit | DI timeout | Line reactance/ unit (Xline) | Earth factor | Earth factor angle | Event enabling | theoretical Distance fault | theoretical XFlt | theoretical V drop | Xfault | Cntr | fault type | Fault current | V drop
A-N
B-N
C-N
AB-N
BC-N
CA-N
ABC-N
AB
BC
CA
ABC

## incomer fault locator
setting of fault type | phase A current(pre-fault) | phase A current(fault) | phase A current(post-fault) | phase B current(pre-fault) | phase B current(fault) | phase B current(post-fault) | phase C current(pre-fault) | phase C current(fault) | phase C current(post-fault) | phase A voltage(pre-fault) | phase A voltage(fault) | phase A voltage(post-fault) | phase B voltage(pre-fault) | phase B voltage(fault) | phase B voltage(post-fault) | phase C voltage(pre-fault) | phase C voltage(fault) | phase C voltage(post-fault) | Triggering digital input (Trig DI) | Line reactance/ unit (Xline) | Current change to trig (dI) | Blocked before next trig | Xmax limit | Event | Accept zero prefault current | theoretical Distance fault | theoretical XFlt | theoretical V drop | Distance fault | XFlt | Date | Time | Cntr | Pre | Fault | Post | V drop | Duration | fault type
AB
BC
CA
ABC